Khyber PakhtunKhwa Board of Technical Education Peshawar

Superintendent Sign:-

_________________

Roll No: - ___________

Candidate’s Sign:-

_____________________

D.A.E Model Paper

2nd Year Electrical Technology (New Course)

Paper: - Electrical Instrument & Measurement (ET – 223)

-------------------------------------------------------------------------------------------------------------------------------

Time Allowed: - 	03 Hours. 							Max. Marks: - 100

Note: - 	The paper consist of three sections A, B and C. Part A is compulsory and should be

attempted in 20 minutes and handed over to the Supdt with in the specified time.

While Section B & C should be completed with in the remaining time.

Time Allowed: - 	20 Minutes. 			(Section – A )			          	Marks: - 20

Q.1: - 	a)	Choose the correct answer.

- A voltmeter is always connected in

a) series 		b) parallel 		c) sometime series & sometime parallel

- Damping Torque in an instrument controls

a) controlling for 	b) movement of pointer c) oscillation of pointer

- Thermo Couple instrument operates on

a) Bi-metal		b) Trimetal		c) unit metal strip principal

- A meggar is basically a

a) moring iron instrument 	b) moving cot instrument 	c) Electrolytic instrument

- Which are integrating instrument

a) VAR meter 	b) Speedo meter 	c) Strobo scope

b) 	Tick True for true statement and False for false statement.

- Spring control is easiest methods for bringing pointer to initial position.	True / False

- Shunt method is used to entered the range of the Ammeter.		True / False

- In short circuit test all are connected to circuit. 				True / False

- The secondary winding of current is connected in parallel to ammeter. 		True/ False

- Digital multi meter is an analogue instrument. 				True / False

c) 	 Fill in the blanks

- A short circuit points the voltage is ______________________.

- Grarling central method is used to produce _____________________ torque.

- Watt meter measure ___________________ power.

- Murray loop test works on the principal of ________________________ bridges.

- Holes are drilled on opposite dies of the moring disk of energy meter to avoid ___________________ at no load.

- Match Column A with Column B.

| Answer | Column A | Column B |
| --- | --- | --- |
|  | Wheat stone Bridge | Fluid Fruition |
|  | LED | Display |
|  | Damping method | Multi meter |
|  | Meggar | Low resistance measurement |
|  | AVO meter | Insulation resistance |

***************

Khyber PakhtunKhwa Board of Technical Education Peshawar

D.A.E Model Paper

2nd Year Electrical Technology (New Course)

Paper: - Electrical Instrument & Measurement (ET – 223)

-------------------------------------------------------------------------------------------------------------------------------

Time Allowed: - 	2 Hrs & 40 minutes. 						          Marks: - 80

(Section – B)				marks: 44

Note: - 	Answer any 11 questions in short from this part. Each question carry 05 marks.

Q.2: -

- Differentiate between absolute & secondary instrument.

- Enlist different damping techniques / method.

- Derive formula for extension of range of a Voltmeter.

- Draw and label circuit diagram of a single energy meter.

- How meggar is used for open circuit test?

- State the working principle of Thermocouple.

- Draw different basic components of measuring instrument.

- Draw different basic components of measuring instrument.

- Enlist at least 5 different types of pointer, used in the measuring instrument.

- How Bi-metallic instrument works?

- Why two single & energy meters can be group for making, unit energy.

- Write down different types of Sycho-Scope.

- How faults in a undersigned cable is located & removed.

- Differentiate between MDI & Ordinary Energy meter.

- What is Multiplexer?

(Section – C)                                             marks: - 36

Note: - 	Attempt any 03 questions in detail from the following. Each question carries 12 marks.

Q.3: - 	 	Describe the construction and working principle of operation of repulsion type moring iron

instrument.

Q.4: - 		Explain the operation of Energy meter with the help of a neat diagram.

Q.5: - 	 	A moving coil instrument gives full scale deflection at 0.005 Amp. If the coil resistance is

10Ω. Calculate how their instrument can be used as Voltmeter with range upto 100 volt.

Q.6: - 		Briefly explain any Sychronoscope in detail.

Q.7: - 		Enumerate with diagram the working of Kelven Double Bridge.

************************