Khyber PakhtunKhwa Board of Technical Education Peshawar

Superintendent Sign:-

_________________

Roll No: - ___________

Candidate’s Sign:-

_____________________

Diploma of Associate Engineer

3rd Year Architecture Technology (New Course)

Annual Examination 2012

Paper: - Building Construction (AR-353)

-------------------------------------------------------------------------------------------------------------------------------

Time: - 	03 Hrs. 								Total Marks: - 100

Note: - 	Q. No 1 is compulsory .It should be attempted on the question paper & returned after Ist 30

minutes. Cutting, Erasing, overwriting & use of pencil is not allowed.

Time: - 	30 Minutes 				(Part – A)				Marks: - 20

Q.1: - 	I	Fill in the Blanks.

- The members which are placed horizontally or vertically close to the sides of trenches for supporting their sides are called ________________ .

- The application of one material over another to provide a skin or layer intended to control the infiltration of weather is called _____________.

- The process of working for the float used for finishing coat is known as ___________.

- In applying the white wash on the plastered surface, the surface should not be very____________.

- The pile which transfer the load by means of the trenches are known as __________.

- The piles which are made of cement concrete are called ______________.

- Pre stressed concrete is a method for overcoming concrete’s natural weakness in ______________.

- Formwork is the term given to either temporary or permanent moulds into which concrete or similar materials are poured. In the context of _____________.

- Pile foundation is a type of _______________.

- R.C.C roof is type of ________________.

******************************

Khyber PakhtunKhwa Board of Technical Education Peshawar

Diploma of Associate Engineer

3rd Year Architecture Technology (New Course)

Annual Examination 2012

Paper: - Building Construction (AR-353)

Time Allowed: - 	02 ½ Hours. 			( Part – B ) 				Marks: - 80

Note: - 	Attempt all questions. All questions carry equal marks.

Q.1: - 		Define form work. Also explain the method & construction of shuttering?

OR

Define gladding & curtain wall. Explain the construction of gladding & Curtain wall?

Q.2: - 		Explain the technique of plastering & why plastering is necessary for constructional work?

OR

What do you mean by external & internal plastering, also write the advantages of

plastering.

Q.3: - 		Enlist different types of false ceiling. State the material used in false ceiling.

OR

Explain the process of dado and skirting construction.

Q.4: - 		Explain the procedure of foundation plan and super structure plan?

OR

Define and explain the procedure of layout plan?

*************